## Vocabulary terms
Code | Concept/preferred label | Alternative label(s) [semi-colon separated list] | related concepts [Code, e.g. R1_01_02, semi-colon separated] | Definition | Application | Notes [will not be included in terminology] | Source | Uniclass [equivalent code] | NRM3 | BS 6100 | BS6707 | other BS | Revision | 2
R1_01 | Solar power | [5 empty] | Barbour
R1_01_01 | Solar array | solar system |  |  |  |  | wikipedia | SL_70_10_82
R1_01_01_01 | Solar panel | Solar cell panel; Solar collector; Solar roof panel |  |  |  |  | NBS
R1_01_02 | Building-mounted solar system | [5 empty] | author
R1_01_02_01 | Solar panel support | [5 empty] | author
R1_01_02_01_01 | Solar module roof anchors | [6 empty] | Pr_20_29_03_78
R1_01_02_01_02 | Solar module ballasted mounting frames | [6 empty] | Pr_20_85_32_80
R1_01_02_01_03 | Solar module free-standing mounting frames | [6 empty] | Pr_20_85_32_81
R1_01_02_01_04 | Ballasted mounting frames for solar modules | [6 empty] | Pr_80_77_27_07
R1_01_02_01_05 | Free-standing mounting frames for solar modules | [6 empty] | Pr_80_77_27_31
R1_01_02_01_06 | Metal cladding solar module clamps | [6 empty] | Pr_80_77_27_51
R1_01_02_01_07 | Roof anchors for solar modules | [6 empty] | Pr_80_77_27_72
R1_01_02_01_08 | Solar module support rails | [6 empty] | Pr_80_77_27_80
R1_01_02_02 | Building mounted solar thermal panels | [5 empty] | NRM1
R1_01_02_03 | Building mounted photovoltaic panels | [5 empty] | author
R1_01_02_03_01 | roof-mounted photovoltaics | [5 empty] | cluster
R1_01_02_04 | Building integrated photovoltaics | [5 empty] | wikipedia
R1_01_02_04_01 | in-roof solar panel system | [5 empty] | Marley - NBS Source
R1_02 | Solar heating system | [5 empty] | NBS; Barbour | Ss_60_40_37_81 |  | 07 12094
R1_02_01 | direct solar heating system | [8 empty] | 07 12095
R1_02_02 | indirect solar heating system | [8 empty] | 07 12096
R1_02_03 | open solar heating system | [8 empty] | 07 12097
R1_02_04 | vented solar heating system | [8 empty] | 07 12098
R1_02_05 | sealed solar heating system | [8 empty] | 07 12099
R1_02_06 | gravity solar heating system | [8 empty] | 07 12100
R1_02_07 | pumped solar heating system |  | R1_02_10; R1_02_11 | [6 empty] | 07 12101
R1_02_08 | draindown solar heating system | [8 empty] | 07 12102
R1_02_09 | drainback solar heating system | drainback system |  |  |  |  | designing buildings |  |  | 07 12103
R1_02_10 | closed pumped system | [5 empty] | designing buildings
R1_02_11 | fully pumped system | [5 empty] | designing buildings
R1_02_20_01 | Solar collector | solar thermal collector; solar heat collector; solar thermal panel |  |  |  |  | designing buildings | Pr_60_60_81 | 5.8.5.5.3 |  | 3.3.9
R1_02_20_01_01 | Evacuated tube solar collector | evacuated tube collector | [5 empty] | Pr_60_60_81_26
R1_02_20_01_02 | Sydney tube | [5 empty] | designing buildings
R1_02_20_01_03 | Flat plate collector | flat plate solar collector | [5 empty] | Pr_60_60_81_30 |  | 07 12109
R1_02_20_01_03_01 | unglazed flat plate collector | [5 empty] | designing buildings
R1_02_20_01_03_02 | glazed flat plate collector | [5 empty] | designing buildings
R1_02_20_01_04 | unglazed collector | unglazed panel | R1_02_20_01_03_01 | [6 empty] | 07 12113
R1_02_20_01_05 | glazed collector |  | R1_02_20_01_03_02 | [6 empty] | 07 12114
R1_02_20_01_06 | trickle collector | [8 empty] | 07 12110
R1_02_20_01_07 | embedded collector | [8 empty] | 07 12112
R1_02_20_01_08 | fish plate collectors
R1_02_20_01_09 | absorber plate |  | R1_02_20_01 | [6 empty] | 07 12105
R1_02_20_01_10 | preheat vessel |  | R1_02_20_01 | [6 empty] | 07 12106
R1_02_20_01_11 | collector aperture |  | R1_02_20_01 | [6 empty] | 07 12107
R1_03 | Photovoltaic system | solar photovoltaic system; solar photovoltaics; photovoltaics; PV |  |  |  |  | wikipedia
R1_03_01 | Grid-connected photovoltaic systems | [6 empty] | Ss_70_10_70_35
R1_03_02 | Stand-alone photovoltaic systems | [6 empty] | Ss_70_10_70_85
R1_03_08 | photovoltaic array | PV array | [8 empty] | 3.3.8
R1_03_08_01 | Photovoltaic roof tile | photovoltaic tiles |  |  |  |  | NBS
R1_03_08_02 | Photovoltaic roof slate | photovoltaic slates |  |  |  |  | NRM1
R1_03_08_03 | Photovoltaic shingles | [5 empty] | wikipedia
R1_03_08_04 | Thin film solar cells |  | R1_03_08_05 |  |  |  | designing buildings
R1_03_08_05 | Thin film amorphous silicon laminates | [5 empty] | NBS
R1_03_08_06 | integrated flexible photovoltaic (PV) module membranes | [6 empty] | Pr_25_57_51_42
R1_03_08_07 | Photovoltaic thermal hybrid solar collector | [5 empty] | wikipedia
R1_03_08_08 | photovoltaic panel | PV panel; solar electricity panel; solar PV panel; solar photovoltaic panel |  |  |  |  | NRM1
R1_03_08_09 | photovoltaic module | solar photovoltaic modules | R1_03_08_08 |  |  |  |  | Pr_60_70_65_63
R1_03_08_10 | photovoltaic device |  | R1_03_08_09 | [5 empty] | 2.3.2.2.3
R1_03_08_08_01 | photovoltaic cell | solar cell |  |  |  |  | NRM1
R1_03_08_08_01_01 | crystalline silicon cells | [5 empty] | wikipedia
R1_03_08_08_01_02 | thin-film cells | R1_03_08_04 |  |  |  |  | wikipedia
R1_03_08_08_01_03 | organic cells | [5 empty] | wikipedia
R1_03_08_08_01_04 | dye-sensitized cells | [5 empty] | wikipedia
R1_03_08_08_01_01_01 | monocrystalline cells | [5 empty] | designing buildings
R1_03_08_08_01_01_02 | polycrystalline cells | [5 empty] | designing buildings
F2_01 | insulation
F2_01_01 | thermal insulation |  |  | Material intended to reduce heat transfer between two media. | Thermal insulation laid in roof space; Thermal insulation to roofs; |  | NRM3; BS 4422-2005 (Fire Vocabulary); BS EN ISO 9229-2020; International Electrotechnical Commission (IEC) |  | 2.3.1.1.18; 2.3.2.2.6;
F2_01_01_01 | thermal insulation material |  |  | Material intended to reduce heat transfer between two media. |  |  | BS EN ISO 9229-2020; |  |  | (01)6.4.32; | 3.4.4.32
F2_01_01_01_01 | cellular plastic |  |  | Thermal insulation material made from plastic, in which the density is reduced by the presence of numerous small cavities (cells), which may be interconnecting or not, dispersed throughout the material. |  |  | BS EN ISO 9229-2020;
F2_01_01_01_01_01 | expanded polystyrene | EPS; polystyrene; | F2_01_01_01_01_02 | Rigid cellular plastic thermal insulation material manufactured by moulding beads of expandable polystyrene or one of its co-polymers and that has a substantially closed-cell structure, filled with air. |  |  | BS EN ISO 9229-2020; |  |  |  |  | BS EN 13163-2012;
F2_01_01_01_01_02 | extruded polystyrene foam | XPS foam; polystyrene foam; polystyrene; | F2_01_01_01_01_01 | Rigid cellular plastic thermal insulation material made from polystyrene or one of its copolymers, which has a closed-cell structure and is produced through an extrusion process. |  |  | BS EN ISO 9229-2020; |  |  |  |  | BS EN 13164;
F2_01_01_01_01_03 | flexible elastomeric foam | FEF; elastomeric foam; |  | Pliable thermal insulation product made of natural or synthetic rubber, or a mixture of the two, and containing other polymers and other chemicals that may be modified by organic or inorganic additives. |  |  | BS EN ISO 9229-2020;
F2_01_01_01_01_04 | phenolic foam | PF; |  | Rigid cellular plastic thermal insulation material, the polymer structure of which is made primarily from the poly-condensation of phenol, its homologues and/or derivatives with aldehydes or ketones. |  |  | BS EN ISO 9229-2020; |  |  |  |  | BS EN 13166;
F2_01_01_01_01_05 | polyethylene foam | PEF; |  | Semi-rigid or flexible cellular plastic thermal insulation material based on polymers derived mainly from ethylene and/or propylene. |  |  | BS EN ISO 9229-2020;
F2_01_01_01_01_06 | polyurethane foam | PUR; PUR foam; |  | Rigid or semi-rigid cellular plastic thermal insulation material with a substantially closed cell structure based on polyurethanes. |  |  | BS EN ISO 9229-2020;
F2_01_01_01_01_07 | urea formaldehyde foam | UF foam; UFF;
F2_01_01_02 | thermal insulation products | [5 empty] | BS EN ISO 9229-2020;
F2_01_01_02_01 | composite insulation product | composite insulators; |  | Thermal insulation product made from two or more layers of different thermal insulation materials, in which each layer of insulation is bonded to the adjacent layer(s). |  |  | BS EN ISO 9229-2020; | Pr_65_70_16_08;
F2_01_01_02_02 | in-situ thermal insulation product |  |  | Thermal insulation product produced or taking its final form at the site of application and that achieves its properties after installation. |  |  | BS EN ISO 9229-2020;
F2_01_01_02_02_01 | blowing wool | mineral wool blown insulation; | F2_01_01_02_02_02; | Granulated wool or loose-fill insulation for application or installation by pneumatic equipment. |  |  | BS EN ISO 9229-2020;
F2_01_01_02_02_02 | granulated wool |  | F2_01_01_02_02_01; | Thermal insulation product obtained by mechanically processing mineral wool or other |  |  | BS EN ISO 9229-2020;
materials of a woolly consistency into pieces having a rounded but irregular shape.
F2_01_01_02_02_03 | granulated cork |  |  | Thermal insulation product composed of fragments of cork obtained by grinding and/or milling raw cork, corkwood or cut pieces. |  |  | BS EN ISO 9229-2020;
F2_01_01_02_02_04 | spray-applied thermal insulation |  | F2_01_01_02_02_06; F2_01_01_02_02_08; |  |  |  | NBS Uniclass; | Pr_35_31_68_84;
F2_01_01_02_02_05 | polyurethane foam insulation | PUR foam insulation; polyurethane foam spray insulation; PUR foam spray insulation; polyurethane foam spray; PUR foam spray; | F2_01_01_02_02_06; | Polyurethane foam thermal insulation product, which is foamed in‑situ insulation. | Applications can include between rafters, to external walls and as an external coating to the roofs. |  | NBS Uniclass; | Pr_25_31_28_67;
F2_01_01_02_02_06 | spray-applied polyurethane | PUR foam insulation; polyurethane foam spray insulation; PUR foam spray insulation; polyurethane foam spray; PUR foam spray; | F2_01_01_02_02_05; | Polyurethane foam thermal insulation product, which is foamed in‑situ insulation. |  |  | BS EN ISO 9229-2020; |  |  |  |  | EN 13165;
F2_01_01_02_02_07 | polyisocyanurate foam insulation | PIR foam insulation; PIR; Polyisocyanurate insulation; | F2_01_01_02_02_08; | Polyisocyanurate foam thermal insulation product, which is foamed in‑situ insulation. | Between rafters; may also be applied to (the underside of) slates and tiles to stabilize where nail fatigue is an issue; |  | NBS Uniclass; | Pr_25_31_28_65;
F2_01_01_02_02_08 | spray-applied polyisocyanurate |  | F2_01_01_02_02_07; | Polyisocyanurate foam thermal insulation product, which is foamed in‑situ insulation. |  |  | BS EN ISO 9229-2020;
F2_01_01_02_02_09 | expanded perlite board | expanded perlite boards; EPB; |  | Perlite boards are thermal insulations with or without a facing or separating membrane. | Expanded perlite boards can also be used as an overlay board to protect sensitive thermal insulation from heat and mechanical damage with the application of mastic asphalt and other (hot applied) bituminous or single ply membrane roofing systems. |  | BS EN ISO 9229-2020; | Pr_25_71_52_22; |  |  |  | EN 13169;
F2_01_01_02_02_10 | wood wool slab | wood wool insualtion; WW slab; WW insulation; wood wool board; wood wool boards; WW board; WW boards; |  | Rigid thermal insulation product manufactured from loose wood wool, bonded with a binder and compressed to its final thickness. |  | DD CEN/TS 1187:2012 - Test methods for external fire exposure to roofs; | BS EN ISO 9229-2020; | Pr_25_71_97_97; |  |  |  | DD CEN/TS 1187:2012;
F2_01_01_02_02_11 | wood fiber product | wood fiber board; wood fiber boards; wood fiber insulation boards; wood fiber batt insulation; |  | Thermal insulation product manufactured from wood fibres, with or without the addition of a bonding agent, compressed to its finished form with or without the application of heat. | Over-rafter insulation systems; Under-rafter insulation systems; Loft insulation; |  | BS EN ISO 9229-2020; | Pr_25_71_97_92; Pr_25_57_06_97;
F2_01_01_02_02_12 | mineral wool slab insulation | mineral wool insulation; mineral wool slab; stone wool insulation; |  | Mineral wool slabs are manufactured from high melting point mineral fibres, e.g. rock, slag and glass. They can provide thermal, acoustic and fire insulation. | Suitable for a wide range of applications including roof spaces in all types of building and as an overlay for ceiling tiles in suspended ceilings. |  | NBS Uniclass; | Pr_25_57_06_56;
F2_01_01_02_02_13 | expanded polystyrene boards | bead board; |  | Expanded polystyrene foam, also known as 'bead board', is made from pre-expanding polystyrene beads. | warm deck roof insulation; |  | NBS Uniclass; | Pr_25_71_63_26;
F2_01_01_02_02_14 | extruded polystyrene boards |  |  | Extruded polystyrene is a closed cell foam material. | warm deck roof insulation; Inverted roof insulation; Sarking over rafters; |  | NBS Uniclass; | Pr_25_71_63_29;
F2_01_01_02_02_15 | flexible elastomeric foam insulation | elastomeric foam insulation; |  | Elastomeric foam insulation is a synthetic rubber composed of a closed-cell structure available in factory-made tubes, sheets, or rolls. | Pitched roofs with counter battens; Pitched roofs with ventilation layers; Flat roof construction; |  | NBS Uniclass; | Pr_80_77_76_29;
F2_01_01_02_02_16 | extruded polyethylene foam boards | PE foam boards; PE foam board; |  | Extruded polyethylene foam board is a closed cell foam board which is used for a variety of purposes, including Thermal insulation board, | On green roofs, a protection layer may be required to protect the waterproof membrane from damage by other trades, prior to installation and maintenance of the finished green roof. |  | NBS Uniclass; | Pr_25_71_63_27;
Thermally insulated protection board.
B1_01 | Roof coverings |  |  | protective cladding, coverings and coatings for roofs |  |  | NRM1 |  | 2.3.2.1.1
B1_01_01 | roofing tile | roof tiles; roofing tiles | B1_01_01_01_03 | tiles for roofing |  |  | suppliers |  |  | 06 32072
B1_01_01_01 | plain tile | [10 empty] | 1304
B1_01_01_01_01 | clay plain tiles | clay roof tiles; clay plain roof tiles | [5 empty] | Pr_25_93_72_13
B1_01_01_01_02 | concrete plain tiles | [6 empty] | Pr_25_93_72_18
B1_01_01_01_03 | plain tile roofing systems | plain tile roofs
B1_01_01_02 | clay roofing tiles | [5 empty] | P-DfMA Standards Database
B1_01_01_02_01 | clay handmade roof tiles | [5 empty] | supplier
B1_01_01_02_02 | clay machine made roof tiles | [5 empty] | supplier
B1_01_03 | concrete roofing tiles | [5 empty] | P-DfMA Standards Database
B1_01_01_04 | interlocking tiles | Interlocking roof tiles | [9 empty] | 490
B1_01_01_04_01 | clay interlocking tiles | interlocking clay roof tiles | [5 empty] | Pr_25_93_72_12
B1_01_01_04_02 | concrete interlocking tiles | [6 empty] | Pr_25_93_72_17
B1_01_01_04_03 | interlocking metal roofs | [5 empty] | supplier
B1_01_01_04_04 | interlocking tile roofing systems | [6 empty] | Ss_30_40_95_40
B1_01_01_05 | metal tiles | [6 empty] | Pr_25_93_72_52
B1_01_01_05_01 | metal tile roofing systems | [6 empty] | Ss_30_40_95_50
B1_01_01_05_02 | metal tile cladding systems | [6 empty] | Ss_25_20_90_50
B1_01_01_06 | profiled roofing tile | [8 empty] | 06 32072
B1_01_01_07 | ridge tile |  |  | roofing tile that provides a ridge cappin | [5 empty] | 06 32087
B1_01_01_07_01 | angular ridge tile |  |  | ridge tile that has an arris along the line of the ridge | [5 empty] | 06 32088
B1_01_01_07_02 | gas flue ridge tile |  |  | ridge tile incorporating a terminalfor gas-fired appliances | [5 empty] | 06 32098
B1_01_01_07_03 | block end ridge tile |  |  | ridge tile with a closed end | [5 empty] | 06 32089
B1_01_01_08 | ventilating tile |  |  | roofing tile shaped to allow for ventilation | [5 empty] | 06 32097
B1_01_01_08_01 | roof slope ventilator tiles | [6 empty] | Pr_30_59_29_73
B1_01_01_08_02 | roof ridge ventilator tiles | [6 empty] | Pr_30_59_29_71 |  | 06 32099
B1_01_01_09 | ceramic tiles | Ceramic roof tiles |  |  |  |  | P-DfMA Standards Database
B1_01_01_10 | rooflight tile |  |  | roofing tile of glass or translucent plastics | [5 empty] | 06 32096
B1_01_01_11 | ornamental tile |  |  | plain tile that has a shaped edge on the exposed portion
B1_01_01_12 | hip tile |  |  | roofing tile that provides a hip capping | [5 empty] | 06 32090
B1_01_01_12_01 | angular hip tile |  |  | hip tile that has an arris along the line of the hip | [5 empty] | 06 32091
B1_01_01_12_02 | modern ridge hip / ridge tile | [5 empty] | Marley
B1_01_01_12_03 | modern block end hip tile | [5 empty] | Marley
B1_01_01_12_04 | bonnet hip tile | bonnet hip tiles |  | rounded hip tile that allows room for the bed to fill the space (01) at the lap |  |  | Riley & Cotgrave |  |  | 06 32092
B1_01_01_13 | peg tile |  |  | similar to a plain tile without nibs and with holes for pegs | [5 empty] | 06 32074
B1_01_01_14 | verge tile |  |  | roofing tile used at a verge | [5 empty] | 06 32083
B1_01_01_14_01 | double roll verge tile | [8 empty] | 06 32084
B1_01_01_14_02 | left hand verge tile | [8 empty] | 06 32085
B1_01_01_14_03 | cloaked verge tile | [8 empty] | 06 32086
B1_01_01_15 | pantile | [8 empty] | 06 32077
B1_01_01_15_01 | double pantile | [8 empty] | 06 32078
B1_01_01_16 | half tile |  |  | roofing tile half as wide as roofing tiles with which it is used | [5 empty] | 06 32080
B1_01_01_17 | top course tile |  |  | short roofing tile used with plain tiles in a top course | [5 empty] | 06 32081
B1_01_01_18 | eaves tile |  |  | short roofing tile used with plain tiles to form an undereaves course | [5 empty] | 06 32082
B1_01_01_19 | double-lap tile |  |  | roofing tile designed so its lower edge laps roofing tiles in two courses below | [5 empty] | 06 32073
B1_01_01_20 | single-lap tile |  |  | roofing tile designed so its lower edge laps roofing tiles in the course below | [5 empty] | 06 32076
B1_01_01_21 | tile-and-a-half tile | [8 empty] | 06 32079
B1_01_01_22 | mansard tile |  |  | roofing tile that covers the joint between the two slopes of a mansard roof | [5 empty] | 06 32093
B1_01_01_23 | angle tile | [8 empty] | 06 32094
B1_01_01_24 | low pitch roof tiles | [5 empty] | supplier
B1_01_01_25 | tile hanging | [8 empty] | 06 32103
B1_01_01_26 | peggy | [8 empty] | 06 32105
B1_01_02 | roofing slate | slate tiles | [9 empty] | 12670
B1_01_02_01 | slate roofing systems | slate roofs |  |  |  |  | supplier
B1_01_02_02 | ceramic slates | [6 empty] | Pr_25_93_72_11
B1_01_02_02_01 | ceramic slate roofing systems | [6 empty] | Ss_30_40_95_15
B1_01_02_03 | natural slates | [6 empty] | Pr_25_93_72_56
B1_01_02_03_01 | natural stone slates | [6 empty] | Pr_25_93_72_57
B1_01_02_03_02 | natural stone roofing systems |  | B1_01_02_04 |  |  |  |  | Ss_30_40_95_60
B1_01_02_03_03 | natural slate roofings systems | [6 empty] | Ss_30_40_95_55
B1_01_02_03_04 | natural slate cladding systems | [6 empty] | Ss_25_20_90_55
B1_01_02_04 | stone slates | tilestones |  |  |  |  | BRE guide book
B1_01_02_04_01 | limestone slates | [5 empty] | BRE guide book
B1_01_02_04_02 | sandstone slates | gritstone slates |  |  |  |  | BRE guide book
B1_01_02_05 | metal slate roof tiles | [5 empty] | supplier
B1_01_02_05_01 | copper slates | [6 empty] | Pr_35_90_30_18
B1_01_02_05_02 | lead slates | pipe flashing |  | flashing used where a section passes through a wall or roofing; it comprises a base to course in and a sleeve to enclose the section |  |  |  | Pr_35_90_30_47
B1_01_02_06 | reconstituted slate roofing systems | [6 empty] | Ss_30_40_95_70
B1_01_02_06_01 | Reconstituted interlocking slates | [6 empty] | Pr_25_93_72_72
B1_01_02_07 | man made slate roof tiles | [5 empty] | BRE guide book; supplier
B1_01_02_08 | fibre cement slates | [6 empty] | Pr_25_93_72_30
B1_01_02_08_01 | fibre cement slate roofing systems | [6 empty] | Ss_30_40_95_30
B1_01_02_08_02 | fibre cement slate cladding systems | [6 empty] | Ss_25_20_90_30
B1_01_02_09 | asbestos-cement slate |  |  | component, similar to a roofing slate, composed of asbestos fibre and Portland cement | [5 empty] | 06 32108
B1_01_02_10 | asbestos-free slate |  |  | component, similar to a roofing slate, composed of non-asbestos fibre and a bonding material | [5 empty] | 06 32109
B1_01_02_11 | random slates |  | B1_01_02_12 | slates of varying length and width | [5 empty] | 06 32112
B1_01_02_12 | random slate roofing |  |  | roofing of random slates laid in diminishing courses | [5 empty] | 06 32118
B1_01_02_13 | dressed slate |  |  | slate given a bevelled edge with a knife or guillotine | [5 empty] | 06 23024
B1_01_02_14 | strip slates |  | B1_01_06_03_02 | unit of mineral granule surfaced bitumen felt, shaped to resemble two or more roofing felts side by side so that, when fixed, they act in a manner similar to roofing tiles, roofing slates or shingles | [5 empty] | 06 32185
B1_01_02_15 | low pitch roof slates
B1_01_02_16 | ton slate |  |  | large roofing slate; one of a batch of small random sizes sold by weight | [5 empty] | 06 32106
B1_01_02_17 | slate-and-a-half slate |  |  | roofing slate half as wide again as the roofing slates of regular width with which it is used | [5 empty] | 06 32107
B1_01_02_18 | diagonal slate |  |  | roofing slate that has six sides and is fixed with one corner uppermost | [5 empty] | 06 32110
B1_01_02_19 | ornamental slate | ornamental roofing, can be slates or tiles |  | roofing slate that has a shaped edge on the exposed side | [5 empty] | 06 32111
B1_01_02_20 | peggy |  |  | small roofing slate; one of a batch of small random sizes sold by weight | [5 empty] | 06 32105
B1_01_02_21 | slate fillet |  |  | mortar fillet covered with roofing slate | [5 empty] | 06 32213
B1_01_02_22 | slate hanging | vertical slating |  | roofing slates fixed to vertical or near vertical surfaces | [5 empty] | 06 32119
B1_01_03 | sheet roofing | sheet coverings | B1_01_03_02 |  |  |  | NRM1 |  |  | 06 32129
B1_01_03_01 | lead sheet roofing | [10 empty] | BS 6915
B1_01_03_02 | rolled lead sheet | [10 empty] | BS EN 12588
B1_01_03_02 | roofing sheet | roof sheeting | B1_01_06 |  |  |  | Cladco |  |  | 06 32130
B1_01_03_02_01 | roofing metal sheet | metal roof sheets | [9 empty] | BS EN 508
B1_01_03_02_02 | reinforced bitumen roofing sheets | [6 empty] | Pr_25_57_08_75
B1_01_03_03 | aluminium sheet fully supported roof covering systems | [6 empty] | Ss_30_40_50_10
B1_01_03_04 | carbon steel sheet fully supported roof covering systems | [6 empty] | Ss_30_40_50_13
B1_01_03_05 | copper sheet fully supported roof covering systems | [6 empty] | Ss_30_40_50_20
B1_01_03_06 | lead sheet fully supported roof covering systems | [6 empty] | Ss_30_40_50_45
B1_01_03_07 | stainless steel sheet fully supported roof covering systems | [6 empty] | Ss_30_40_50_80
B1_01_03_08 | zinc sheet fully supported roof covering systems | [6 empty] | Ss_30_40_50_95
B1_01_03_09 | profiled sheet |  |  | roofing sheet formed with regularly spaced longitudinal shaping, to give a corrugated or troughed cross-section | [5 empty] | 06 32134
B1_01_03_09_01 | profiled sheet self-supporting roof covering systems | [6 empty] | Ss_30_40_65
B1_01_03_09_02 | fibre cement profiled self-supporting sheet roof covering systems | Fibre cement corrugated sheet self-supporting roof covering systems | [5 empty] | Ss_30_40_65_30
B1_01_03_09_03 | metal profiled sheet self-supporting roof covering systems | Metal corrugated sheet self-supporting roof covering systems | [5 empty] | Ss_30_40_65_50
B1_01_03_09_04 | plastics profiled sheet self-supporting roof covering systems | Plastics corrugated sheet self-supporting roof covering systems | [5 empty] | Ss_30_40_65_60
B1_01_03_09_05 | bitumen fiber profiled sheet | [10 empty] | BS EN 544
B1_01_03_09_06 | fiber cement profiled sheet | [10 empty] | BS EN 494
B1_01_03_09_07 | aluminium profiled sheet | [10 empty] | 14782 & BS EN 508‑2
B1_01_03_09_08 | cooper and Zinc profiled sheet | [10 empty] | BS EN 506
B1_01_03_09_09 | steel profiled sheet | [10 empty] | BS EN 508-1
B1_01_03_09_10 | stainless steel profiled sheet | [10 empty] | BS EN 508-3
B1_01_03_09_11 | translucent rooflights profiled sheet | [10 empty] | BS EN 1013
B1_01_03_09_12 | Insulated sandwich panel profiled sheet | [10 empty] | BS EN 14509
B1_01_03_10 | double skin roof covering |  |  | roofing that combines an outer profiled sheet and an inner sealing sheet | [5 empty] | 06 32136
B1_01_03_11 | cranked ridge sheet |  |  | ridge capping in the form of a curved or bent profiled sheet | [5 empty] | 06 32144
B1_01_03_12 | curved end sheet |  |  | profiled sheet curved at one end | [5 empty] | 06 32145
B1_01_03_13 | cranked sheet |  |  | sheet used in sheet roofing to provide weather protection where there is a change in pitch | [5 empty] | 06 32135
B1_01_03_14 | corrugated metal roofing sheets | [5 empty] | supplier
B1_01_03_15 | corrugated steel roofing sheets | [5 empty] | supplier
B1_01_03_16 | galvanised roof sheets | [5 empty] | supplier
B1_01_04 | shingle | shingles |  | slice of timber sawn from a block | [5 empty] | 06 32121
B1_01_04_01 | wood shingles | Timber shingles | [5 empty] | Pr_25_93_72_97
B1_01_04_01_01 | hardwood shingles | [6 empty] | Pr_25_93_72_37
B1_01_04_01_02 | wood shingle or shake cladding systems | Timber shingle cladding systems; Wood shake cladding systems | [5 empty] | Ss_25_20_90_95
B1_01_04_01_03 | wood shake or shingle roofing systems | Timber shake and shingle roofing systems | [5 empty] | Ss_30_40_95_95
B1_01_04_02 | bitumen membrane shingles | Asphalt shingles; Felt roof tiles |  |  |  |  | supplier | Pr_25_93_72_08
B1_01_04_02_01 | bitumen membrane shingle cappings | [6 empty] | Pr_35_90_93_07
B1_01_04_02_02 | bitumen membrane shingle roofing system | Felt shingle roofing systems | [5 empty] | Ss_30_40_95_10
B1_01_04_03 | shingle butt |  |  | thick end of a tapered shingle | [5 empty] | 06 32123
B1_01_04_04 | shingle tip |  |  | thin end of a tapered shingle | [5 empty] | 06 32124
B1_01_04_05 | laced corner shingle | [8 empty] | 06 34009
B1_01_04_06 | cedar roof shingles | [5 empty] | supplier
B1_01_04_07 | soft tile | flexible tile; bitumen shingles |  |  |  |  | supplier
B1_01_05 | roof surfacing |  | B1_01_06_02 | protective covering applied to the top of bituminous roofing | [5 empty] | 06 32187
B1_01_06 | roofing felt |  |  | non-metallic flexible sheet, based on matted fibres and treated to restrict the passage of water, used as roofing | [5 empty] | 06 32133
B1_01_06_01 | roof felt | felt roofing; felt roof coverings; flat roofing felt |  |  |  |  | suppliers; NRM1
B1_01_06_02 | bituminous felt | [5 empty] | supplier
B1_01_06_02_01 | bituminous felt packers | Bituminous felt packings | [5 empty] | Pr_20_29_60_07
B1_01_06_02_02 | lap cement |  | B1_01_06_03 | liquid or semi-liquid bitumen applied cold and used to seal overlapping joints of bitumen felt in single layer roofing | [5 empty] | 06 32186
B1_01_06_02_03 | taping strip |  | B1_01_06_03 | strip of bitumen felt fixed over open joints between units of the supporting layer in a roof prior to laying roofing felt | [5 empty] | 06 32188
B1_01_06_02_04 | tuck-in |  | B1_01_06_03 | edge of bitumen felt, skirting or cover flashing tucked into a chase |  | same BS code as 'welted-drip' |  |  |  | 06 32189
B1_01_06_02_05 | welted drip |  |  | strip of bitumen felt folded under and returned onto a roof at the eaves or verge |  | same BS code as 'tuck-in' |  |  |  | 06 32189
B1_01_06_02_06 | turn-up |  | B1_01_06_03 | skirting of bitumen felt | [5 empty] | 06 32190
B1_01_06_03 | bitumen felt |  |  | fibre based sheet saturated with bitumen | [5 empty] | 06 32172
B1_01_06_03_01 | fine granule surfaced bitumen felt |  |  | bitumen felt, the base of which is impregnated and/or coated with bitumen and surfaced on both sides with fine granular material | [5 empty] | 06 32174
B1_01_06_03_02 | mineral granule surfaced bitumen felt |  |  | bitumen felt in which the base is impregnated and/or coated with bitumen the upper surface being finished with coloured mineral granules and the under surface with fine granular material | [5 empty] | 06 32175
B1_01_06_03_03 | metal foil faced bitumen felt |  |  | bitumen felt, the base of which is impregnated and/or coated with bitumen, the upper surface being finished with embossed metal foil bonded to it and the under surface with fine granular material | [5 empty] | 06 32177
B1_01_06_03_04 | asbestos base bitumen felt |  |  | bitumen felt, the base of which consists mainly of asbestos fibres | [5 empty] | 06 32178
B1_01_06_03_05 | glass fibre base bitument felt |  |  | bitumen felt, the base of which consists mainly of glass fibres | [5 empty] | 06 32179
B1_01_06_03_06 | glass /polyester base bitumen felt |  |  | bitumen felt, the base of which consists mainly of glass and polyester fibres | [5 empty] | 06 32180
B1_01_06_04 | built-up felt roofing |  |  | roofing that consists of two or more layers of bitumen felt bonded together | [5 empty] | 06 32173
B1_01_06_04_01 | polyester base felt roofing |  |  | built-up felt roofing, the base of which consists mainly of polyester with standard roofing bitumens or with a polymer modified bitumen coat, surfaced with fine granules, mineral granules or metal | [5 empty] | 06 32181
B1_01_06_04_02 | fully bonded roofing |  |  | built-up felt roofing that has its first layer completely adhering to the supporting structure | [5 empty] | 06 32170
B1_01_06_04_03 | partially bonded roofing |  |  | built-up felt roofing that has its first layer spot or strip bonded to the supporting structure | [5 empty] | 06 32170
B1_01_07 | bituminous roofing | bitumen roofs; bituminous roofing systems |  | roofing of bituminous materials | [5 empty] | 06 32168
B1_01_07_01 | calendered polymeric roofing |  |  | bituminous roofing that consists mainly of layers of bitumen or pitch extended polymers, with random fibre reinforcement and self-finished surface | [5 empty] | 06 32182
B1_01_08 | asphalt roofing |  | B1_01_09 | bituminous roofing that consists of two or more layers of asphalt applied in a molten state | [5 empty] | 06 32169
B1_01_08_01 | asphalt membrane | [5 empty] | suppliers
B1_01_09 | mastic asphalt roofing | [5 empty] | NRM1 |  | 2.3.2.1.2
B1_01_09_01 | roofing, tanking and flooring mastic asphalt | Roofing, tanking and flooring MA | [5 empty] | Pr_35_31_05_72
B1_01_09_02 | mastic asphalt warm roof covering systems | Mastic asphalt warm roofing systems | [5 empty] | Ss_30_40_30_55
B1_01_09_03 | mastic asphalt cold roof covering systems | Mastic asphalt cold roofing systems | [5 empty] | Ss_30_40_30_50
B1_01_09_04 | mastic asphalt inverted roof covering systems | Mastic asphalt inverted roofing systems | [5 empty] | Ss_30_40_30_52
B1_01_10 | roof paving | [7 empty] | 2.3.2.2.8
B1_01_10_01 | roofs, floor and paving elements | [6 empty] | EF_30
B1_01_10_02 | roof, floor and paving systems | [6 empty] | Ss_30
B1_01_10_03 | temporary roof, floor and paving systems | [6 empty] | Ss_30_95
B1_01_10_04 | temporary roof, floor and paving works systems | [6 empty] | Ss_15_95_30
B1_01_11 | flashings | Flashings and aprons; Flashings and trims | [5 empty] | Pr_35_90_30 | 2.3.2.5
B1_01_11_01 | flashing systems | [6 empty] | Ss_32_30_30
B1_01_11_02 | roof components flashings | components flashings | [6 empty] | 2.3.3.1.4
B1_01_11_03 | aluminum flashings | Aluminium flashings and aprons | [5 empty] | Pr_35_90_30_01
B1_01_11_03_01 | aluminum flashing systems | [6 empty] | Ss_32_30_30_03
B1_01_11_04 | copper flashings | Copper flashings and aprons | [5 empty] | Pr_35_90_30_15
B1_01_11_04_01 | copper flashing systems | [6 empty] | Ss_32_30_30_14
B1_01_11_05 | zinc flashings | Zinc flashings and aprons | [5 empty] | Pr_35_90_30_99
B1_01_11_05_01 | zinc flashing systems | [6 empty] | Ss_32_30_30_98
B1_01_11_06 | stainless steel flashings | Stainless steel flashings and aprons | [5 empty] | Pr_35_90_30_83
B1_01_11_06_01 | stainless steel flashing systems | [6 empty] | Ss_32_30_30_84
B1_01_11_07 | carbon steel flashings | Carbon steel flashings and aprons | [5 empty] | Pr_35_90_30_11
B1_01_11_07_01 | carbon steel flashing systems | [6 empty] | Ss_32_30_30_11
B1_01_11_08 | lead flashings | Lead flashings and aprons | [5 empty] | Pr_35_90_30_46
B1_01_11_08_01 | lead flashing systems | [6 empty] | Ss_32_30_30_47
B1_01_11_09 | flashing and weathering systems | [6 empty] | Ss_32_30
B1_01_11_10 | recycled plastic flashings | Recycled plastics flashings and aprons | [5 empty] | Pr_35_90_30_72
B1_01_11_11 | galvanised steel flashings | [6 empty] | Pr_35_90_30_33
B1_01_11_11_01 | glass fibre-reinforced plastics (GRP) flashings | GRP flashings and aprons | [5 empty] | Pr_35_90_30_34
B1_01_11_12 | polyethylene (PE)-based flashings | PE-based flashings and aprons; Polyethylene-based flashings and aprons | [5 empty] | Pr_35_90_30_64
B1_01_12 | thatch |  |  | roofing of reed, straw or heather | [5 empty] | 06 32190
B1_01_12_01 | thatching | thatched roofs; thatch |  |  |  |  | NRM1
B1_01_12_02 | straw thatch |  |  | thatch of unbroken dried wheat, barley, rye or sedge stalk | [5 empty] | 06 32191
B1_01_12_03 | reed thatch |  |  | thatch of reed stalks | [5 empty] | 06 32192
B1_01_12_04 | thatch coat |  |  | layer of thatch covering a whole roof | [5 empty] | 06 32203
B1_01_12_05 | thatch course |  |  | strip of thatch laid horizontally along a roof | [5 empty] | 06 32204
B1_01_12_06 | thatch roofing systems | [6 empty] | Ss_30_40_92_85
B1_01_12_07 | thatch roof covering systems | [6 empty] | Ss_30_40_92
B1_01_13 | liquid applied roof coatings | [5 empty] | NRM1
B1_01_13_01 | hot melt bitumen | [5 empty] | supplier (Sika)
B1_01_13_02 | bitumen liquid applied membrane | [5 empty] | supplier (Sika)
B1_01_13_03 | modified bitumen roofing | [5 empty] | suppliers
B1_01_14 | single ply roofing | single ply roof membrane system |  |  |  |  | supplier (Bauder)
B1_01_14_01 | single ply rubber roofing | [5 empty] | supplier
B1_01_14_02 | single ply membrane roofing | [5 empty] | supplier
B1_01_14_03 | rubber roofing | rubber roofs; rubber roofing systems |  |  |  |  | supplier
B1_01_15 | dry hip systems |  | B1_01_01_04_04 |  |  |  | Marley, BMI
B1_01_15_01 | dry fixing hips | dry hip | [5 empty] | Pr_35_90_93_28
B1_01_15_02 | ventilated dry hip system | [5 empty] | Marley
B1_01_16 | dry ridge systems | [5 empty] | supplier
B1_01_16_01 | dry fixing ridges | dry ridge | [5 empty] | Pr_35_90_93_29
B1_01_16_02 | ventilated dry ridge system | [5 empty] | Marley
B1_01_17 | green roofs | vegetated roofs; eco-roofs; garden roofs; roof gardens |  |  |  |  | NRM1; suppliers
Note on A1: Richard Watson: Suggest we use the format FX_XX_XX_XX_XX_XX where F=Farhad, R=Richard, I=Ian first digit is to distinguish topic areas then 2 digits for ever level below
Note on B1: Richard Watson: Name of the concept as preferred label Must be a single string
Note on C1: Richard Watson: alternative label(s) for the concept. Separate with ;
Note on D1: Richard Watson: list of codes (column A) for any related concepts - separate with ;
Note on E1: Richard Watson: text definition no need to add these for terms from the BS vocabularies as they are already in the KG
Note on F1: Richard Watson: text - if available in source
Note on G1: Richard Watson: Author notes - not processed into the KG
Note on H1: Richard Watson: source of the concept. No need to complete if one of the standard codes included in columns H-O
Note on I1: Richard Watson: Include reference to the equivalent term(s) in uniclass, NRM etc - separate with ; use their coding structures
Note on Q1: Richard Watson: increment each time the spreadsheet is 'issued'
Note on K23: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: these are related to 0712094 in the definitions within BS 6100-7 - do we need to include them here? Reply: Any relationships you can add increases the value of the KG.
Note on B37: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: where there is a BS term and Uniclass term I am using the BS term as the preferred label
Note on A45: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: same issue here as with A27 - these are components of a solar collector

## Notes
Note | Source file link | Date imported
OneDrive folder containing various source files | https://livenorthumbriaac-my.sharepoint.com/personal/richard_watson_northumbria_ac_uk/_layouts/15/onedrive.aspx?ct=1651152648368&or=Teams%2DHL&ga=1&id=%2Fpersonal%2Frichard%5Fwatson%5Fnorthumbria%5Fac%5Fuk%2FDocuments%2F2%20%2D%20Research%2F2021%2Fi%2DREC%20Approved%20Documents%2FDRTC%20Project%2FControlled%20Vocabularies | N/A
Photovoltaics terms finalised by Richard on 7 April 2022, imported into this spreadsheet on 28 April 2022 | https://livenorthumbriaac-my.sharepoint.com/:x:/r/personal/richard_watson_northumbria_ac_uk/_layouts/15/Doc.aspx?sourcedoc=%7B4320A3FF-685A-438D-93EB-1F7198684305%7D&file=Solar%20power%20vocabulary.xlsx&action=default&mobileredirect=true | 2022-04-28
Insuation terms curated by Farhad, imported into this spreadsheet on 29 April 2022 | https://livenorthumbriaac-my.sharepoint.com/:x:/r/personal/richard_watson_northumbria_ac_uk/_layouts/15/Doc.aspx?sourcedoc=%7B09C27BFB-1C92-45A3-8CF2-EE87A3113DF3%7D&file=KG_INSULATION_FS_V0.1.xlsx&action=default&mobileredirect=true | 2022-04-29
Insuation terms curated by Farhad, reimported into this spreadsheet on 4 May 2022 after changing to using the v2 template | https://livenorthumbriaac-my.sharepoint.com/:x:/r/personal/richard_watson_northumbria_ac_uk/_layouts/15/Doc.aspx?sourcedoc=%7B09C27BFB-1C92-45A3-8CF2-EE87A3113DF3%7D&file=KG_INSULATION_FS_V0.1.xlsx&action=default&mobileredirect=true | 2022-05-04
Added roof covering terminology |  | 2022-08-29
Fixed IDs in roof covering (AG) |  | 2022-08-29